SPARE PARTS LIST OF CDR-2

| N0. | # CODE | # NAME | MODEL | QUY. | MATERIAL | REMARK |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | WBC2-120.01 | BODY |  | 1PC |  |  |
| 02 | WBC1-120.02 | UNITE ROOM GRILLS |  | 1PC |  |  |
| 03 | WBC1-120.03 | EVAPORATOR COVER |  | 1PC |  |  |
| 04 | S900.34 | CONDENSER FAN | SA1238A2 | 2PCS |  |  |
| 05 | WBC1-240.19 | EVAPORATOR |  | 1PC |  |  |
| 06 | WBC1-120.06 | EVAPORATOR WATER PAN |  | 1PC | STAINLESS |  |
| 07 | S900.47 | PLUG |  | 1PC |  |  |
| 08 | WBC1-120.08 | THE BACK CONNECT |  | 1PC |  |  |
| 09 | WBC1-120.09 | UNIT COVER |  | 1PC | STAINLESS |  |
| 10 | S903.05E | COMPRESSOR | FF8.5HBK | 1PC |  |  |
| 11 | WBC1-120.11 | THE FRONT CONNECT |  | 1PC |  |  |
| 12 | BC2-24.30 | WATER BOX |  | 1PC | STEEL |  |
| 13 | S900.34 | CONDENSER FAN | SA1238A2 | 2PCS |  |  |
| 14 | WBC1-240.32 | CONDENSER |  | 1PC |  |  |
| 15 | WBC1-120.15 | FRONT COVER |  | 1PC |  |  |
| 16 | WBC1-120.04 | THERMOSTAT COVER |  | 1PC |  |  |
| 17 | SH3080.18 | MANUALLY OPERATION BOLT |  | 1PC |  |  |
| 18 | WBC1-120.18 | UNIT SUPPORT |  | 1PC |  |  |
| 19 | WBC1-120.20 | ELECTRICAL EQUIPMENT FIXER |  | 1PC | STAINLESS |  |
| 20 | GN2100TN.12 | DOOR DOWN HINGE RIGHT |  | 1PC |  |  |
| 21 | WBC1-120.05 | THERMOSTAT | XW03K-CX40 | 1PC |  |  |
| 22 | S900.01 | MAIN SWITCH |  | 1PC |  |  |
| 23 | WBC1-120.23R | BOTTOM OF THE SHIELD |  | 1PC |  |  |
| 24 | WBC1-120.27R | DOOR |  | 1PC |  |  |
| 25 | WBC2-120.25 | MIDDLE BRIDGE |  | 1PC |  |  |
| N0. | # CODE | # NAME | MODEL | QUY. | MATERIAL | REMARK |
| 26 | WBC1-120.23L | BOTTOM OF THE SHIELD |  | 1PC |  |  |
| 27 | GN2100TN.65L | DOOR DOWN HINGE/ LEFT |  | 1PC |  |  |
| 28 | WBC1-120.26 | GASKET |  | 1PC |  |  |
| 29 | WBC1-120.27L | DOOR |  | 1PC |  |  |
| 30 | GN650TN.14 | DOOR SPRING HINGE |  | 1PC |  |  |
| 31 | GN650TN.10 | DOWN HINGE AXIS JACKET |  | 2PCS | PLASTIC |  |
| 32 | GN2100TN.65L | DOOR UP HINGE /LEFT |  | 1PC |  |  |
| 33 | WBC1-240.10 | TOP COVER HINGE |  | 4PCS |  |  |
| 34 | WBC1-240.11 | TOP COVER SUPPORT |  | 2PCS |  |  |
| 35 | WBC1-120.29 | GUIDE CYLINDER |  | 2PCS |  |  |
| 36 | WBC1-120.30 | TOP GASKET |  | 2PCS |  |  |
| 37 | WBC1-120.32 | TOP COVER |  | 2PCS |  |  |
| 38 | WBC1-240.07 | HANDLE |  | 2PCS |  |  |